## Sheet1
Sr. No | Instruments | Brand / Model | Function | Location
1 | Fluorescence Spectrophotometer | Jasco FP-8300, Japan | Optical properties | CRTDH, IITGN | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
2 | Multimode Plate Reader | Cytation 5, USA | Quantification of biological samples | CRTDH, IITGN | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
3 | HPTLC | CAMAG, Switzerland | Qualitative and quantitative analysis of organics | CRTDH, IITGN | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
4 | ICP-MS System | PerkinElmer NexION 2000, Avio200, USA | Detection of trace metals and isotope analysis | CRTDH, IITGN | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
5 | UV-Vis Spectrophotometer | Analytik Jena Specord 210 plus, Germany | Optical properties | CRTDH, IITGN | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
6 | TOC & TNb | Analytik Jena Multi N/C 21005 BU, Germany | Total organic carbon analyzer | CRTDH, IITGN | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
7 | BOD Incubator | VELP Scientifica BOD system 6, Italy | Biological Oxygen demand analyzer | CRTDH, IITGN | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
8 | Fermentater | Murhopye Scientific Co., Karnataka | Bioreactor to study the bioprocess | CRTDH, IITGN | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
9 | Spray Dryer | Techno Search Pvt.Ltd. SPD-P-111, Maharastra | Slury to dry particle formaiton | CRTDH, IITGN | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
10 | Hot Air Oven | JSGW | Sterilization and decontamination of laboratory equipment and materials through dry heat. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
11 | Vertical Autoclave | IGENE Labserve | Sterilizing equipment and materials through high-pressure steam | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
12 | Vaccum Oven | IGENE Labserve | Used for drying, heating, and de-gassing materials through low atmospheric pressure and controlled temperature condition | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
13 | 3D Printer | TesserAct - Juila Pro | Creates three-dimensional objects by layering material in accordance with a digital 3D model. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
14 | COD Reactor | Rocker - CR25 | To measure the amount of oxygen required for the chemical oxidation of organic and inorganic substances in water samples | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
15 | Referigerated Centrifuge | Neuation; iFUGE UCO2 | Used for separating components of various samples based on density, shape, and size by spinning them at high speeds | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
16 | PCR Machine | Blue-Ray BIOTECH TurboCycler | Used for amplifying and generating multiple copies of a specific DNA | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
17 | Ultrasonic Cell Crusher Noise Isolating Chamber | LABMAN-Scientific Instruments | Minimizes noise during cell disruption in a controlled laboratory environment. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
18 | Probe Sonicator | LABMAN-Scientific Instruments | Disrupts cells and particles for various applications including homogenization and sample preparation. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
19 | pH Meter-5 point | LABMAN-Scientific Instruments | Determines acidity or alkalinity of a solution accurately at multiple calibration points. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
20 | Colorimeter | PHOTOCHEM LT-CO2-LINCO-AIMIL | Measures the absorbance of specific wavelengths of light, aiding in quantitative analysis of colored compounds. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
21 | Over Head Stirrer | Neuation iSTIR OH JR. | Facilitates the efficient mixing and stirring of substances in various laboratory applications. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
22 | Cooling Centrifuge | REMI C-24 Plus | Cools samples during centrifugation to prevent heat-related degradation or alteration. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
23 | Programmable Bench-top Steam Sterilizer | DAIHAN Scientific | Sterilizes laboratory equipment and materials using steam in a controlled and programmable manner. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
24 | Analytical Balance | ACZEL CY 224C | Measures the mass of samples accurately and precisely for analytical and quantitative purposes. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
25 | Fume Hood | Science Tech (India) | Provides a controlled environment for handling hazardous or noxious fumes, ensuring safety in the laboratory. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
26 | Stackable Incubator Shaker | INFORS AG CH-4103 BOTTMINGEN | Provides controlled temperature and agitation for cell culturing and biological research. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
27 | BIO Safety Cabinet | MEHROTRA Biotech Model No. CBS 1200 | Provides a sterile and safe working environment for handling potentially hazardous biological materials. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
28 | Incubator Shaker | IGENE Labserve | Combined controlled temperature and agitation for optimal cell culture and biological research conditions. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
29 | Sonicator Bath | LABQUEST WLS020 | Uses ultrasonic waves to uniformly clean, mix, or disperse samples in a temperature-controlled bath. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
30 | UV-VIS Spectrophotometer | LABINDIA UV 3200 | Analyzes the absorption and transmission of ultraviolet and visible light by substances, aiding in quantitative analysis and characterization. | CRTDH, CSIR-IITR | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
31 | In vivo imaging system (Small Animal live imaging) | IVIS Lumina LT / PerkinElmer, USA. | Non-Invasive Optical imaging in live animals. | CRTDH,DPSRU | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
32 | Hot Melt Extruder | ThermoFisher Scientific, USA. | Molecular level mixing of thermoplastic binders and/or polymers and active compunds. | CRTDH,DPSRU | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
33 | Differential scanning calorimeter (DSC) | Shimadzu, Japan. | Measuring how physical properties of a sample change along with temperature against time. | CRTDH,DPSRU | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
34 | High performance liquid chromatography (HPLC) | ThermoFisher Scientific, USA. | Qualitative and Quantitative analysis of compounds. | CRTDH,DPSRU | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
35 | Fourier transform infrared (FT-IR) | Alpha-II/ Bruker, USA. | Scan test samples and observe chemical properties of compounds. | CRTDH,DPSRU | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
36 | Malvern Zetasizer/Particle sizer | Litesizer-500, Anton paar,Austria. | Determine the size and distribution of particles making up a material. | CRTDH,DPSRU | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
37 | Fluorescence Imaging system | Logos biosystems, South korea. | Investigate virtually any cellular process under the microscope. | CRTDH,DPSRU | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
38 | UV-Spectrophotometer | Shimadzu, Japan. | Measure Optical properties. | CRTDH,DPSRU | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
39 | ICP-OES | Agilent technologies | detection of metal ions at trace (ppb and ppm) level from various industrial and academic samples | CRTDH, IIT Bhilai | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
40 | Glove box | Vacuum technologies , India | provides inert environment for carrying out air sensitive reaction | CRTDH, IIT Bhilai. | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
41 | Paper Shearing / Forming Machine | I & B Engineers | Pilot scale paper based kit manufacturing | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
42 | Motorised Conveyor for Assembly line | I & B Engineers | Pilot scale paper based kit manufacturing | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
43 | Moulding Machine for Paper Edge Preparation | I & B Engineers | Pilot scale paper based kit manufacturing | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
44 | Conveyor for dispensing reagent with dryer | I & B Engineers | Pilot scale paper based kit manufacturing | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
45 | Electronic Dispenser | I & B Engineers | Pilot scale paper based kit manufacturing | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
46 | Vacuum Packaging Machine | I & B Engineers | Pilot scale paper based kit manufacturing | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
47 | Cryogenic Refrigerators ( -80c) | CryoCube F570 Upright | Storage of biological samples | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
48 | Cryogenic Refrigerators ( -20c) | Vestfrost Solutions | Storage of biological samples | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
49 | Refrigerators | Elanpro | Storage of biological samples | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
50 | Wave Soldering Machine | Voltera V1 | Rapid PCB prototyping | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
51 | Infrared Laser (300-1500 nm) cutter | boxford | Rapid Prototyping | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
53 | Elanpro Refrigerator | Elanpro |  | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
54 | Hot Air Oven | Stericox |  | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
55 | Nanodrop one | Thermo Scientific | Reagent dispensing Unit | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
56 | Analytical Balance | Wensar |  | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
57 | Blood Tube Package | Thermo Scientific |  | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
58 | High Speed Guillotine Cutter | Werfen Automation Equipment |  | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
59 | DC Power Supply | TENMA | Testing of electronic equipment | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
60 | Digital Oscilloscope | MULTICOMP PRO MP720105, MP720011 | Testing of electronic equipment | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
61 | 6.5 Digit Multimeter with Graphical Touchscreen | Keithley DMM6500 | Testing of electronic equipment | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
62 | Data Acquistion Multimeter | Keithley DAQ6510 | Testing of electronic equipment | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
63 | Arb Wavefrorm Genetaror | MULTICOMP PRO MP750511 | Testing of electronic equipment | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
64 | Fluroscence Microscope | MSX11-C |  | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
65 | 3D Printer | Bambu Lab X1-Carbon | Rapid prototyping | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
66 | Compressor | ELGI |  | CRTDH, IIT KGP | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
67 | Real Time Simulator HIL | OPAL RT/ OP4512 | Rapid control prototyping and HIL simulator | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
68 | Solar Emulator System with Software | ITECH-IT6424C and SAS1000 | Solar emulator | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
69 | Real time Controller & Software | WAVECT-300/WAVECT HD WCU 300 | Real time controller and software | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
70 | Power Quality Analyzer | YOKOGAWA/WT1804E | Power quality Analyzer | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
71 | Three Power Quality Analyzer with accessories | FLUKE /NORMA6004+ | Power quality Analyzer | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
72 | Insulation Tester | FLUKE/1500C/15KV | Insulation resistance | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
73 | 108W Programmable High precision DC power supply | GW INSTEK /PPX-3603 | Programmable DC power supply | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
74 | 375W, 3- Channel liner DC power supply | GW INSTEK /GPC-6030D | Programmable DC power supply | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
75 | 180W, 2- Channel programmable linear power supply | GW INSTEK /GPO-2303S | Programmable DC power supply | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
76 | 1500W Programmable switching DC power supply | GW INSTEK/PSU 300-5 | Programmable DC power supply | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
77 | 1 KVA Programmable AC/DC power source | GW INSTEK /ASR-2100 | Programmable AC/DC power supply | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
78 | 350V 18A 1875W AC/DC Electronic load | GW INSTEK/AEL-5002-350-18.75 | Electronic Load | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
79 | PCB prototype machine | ROBOKITS INDIA/RMCS-3502 | PCB fabircation | CRTDH, NITANDHRA | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
80 | 3D Printer | Ultimaker /S5 | Rapid prototyping | CRTDH-CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
81 | Nano fibre electrospinning unit | Kato Tech /NEU | To, generate nanofibers from various types of materials | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
82 | Gel Rocker |  | used for biological mixing | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
83 | Semidry blotter | Hoefer/TE 77PWR | semi-dry transfer of proteins from polyacrylamide gels to nitrocellulose or PVDF membranes | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
84 | Microvolumespectometer | Implen /Nanophotometer | Optical properties | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
85 | Tangential flow filtration system with hallow fibre& cassette holder | Spectrum lab/KR2i | used for separation, concentration, and purification of biomolecules and particles in solution | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
86 | Ultra centrifuge | Beckman Coulter /Optimar L-100XP | used to separate particles, molecules, or cells based on their density. | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
87 | Protein Purifier | GE /AKTA | used for purification of the proteins | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
88 | Electronic balance | Afcoset/FX 300 | Measures the mass of samples for analytical and quantitative purposes | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
89 | Inverted microscope | Nikon/TS-2 | observing cells | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
90 | Analytical Ultra centrifuge | Beckman Coulter /Proteome lab XL-1 | analysis of biological macromolecules and their interactions | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
91 | Type-I,II water | Rephile /Direct Pure | Water Quality Analyzer | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
92 | Protein Purifier with cold cabinet | GE /AKTA Pure | cold cabinet for purification of the proteins | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
93 | Rotavapor | Heidolph/Hei-Vap Core | used for efficient and gentle removal of solvents from samples by evaporation | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
94 | Microscope | Olympus /CX41 | used to observe small objects such as cells | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
95 | Electrocell manipulator | Bio-Rad/GenePulser cell | suitable for electro cell fusion, embryo manipulation and/or electroporation | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
96 | Fluorimeter | Hitachi /F-7000 | measures the fluorescence or light emitted by different fluorescing objects. | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
97 | Microfluidic Controler System | Fluigent /MFCS-EV | allow to recreate in vitro cell-cell, cell-substrate and cell-medium interactions with high accuracy. | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
98 | Speedvac concentrator | Labogene/Scan Vac | removing solvents and concentrating samples while maintaining sample integrity. | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
99 | Bio reactor | Eppendorf /Bioflo 120 | provides the optimal conditions by providing optimum temperature | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
100 | Type-I Water | EvoQua /ROEDI 55 | water purification system | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
101 | Thermal cycler | Eppendorf /Thermomixer-C | Used for amplifying and generating multiple copies of a specific DNA | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
102 | Microvolumespectometer | Thermofisher/Naonodrop one | optical properties | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
103 | Conductivity meter | Eutech/CON 700 | measures the amount of electric current or conductivity in a solution | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
104 | Inverted microscope | Nikon /Ecllipse-TS-100 | to study live cells | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
105 | Realtime PCR | Roche/Lightcycle 480 II | rapid and sensitive determination and quantitation of nucleic acid in various biological samples | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
106 | HPLC | Agilent Technologies/120 Infinity | Qualitative and Quantitative analysis of compounds. | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
107 | Ultasonic cell crusher | Unigenetics/SKL-500D | used for crushing various cells | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
108 | Bar code printer with Reader | Zebra/GT820 | capture and translate barcodes into numbers and/or letters for translation by computer | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
109 | Multiplate reader | TECAN/Infinite M200PRO | measures the absorbance, luminescence, fluorescence, | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
110 | Ulrasonic cleaner | Unigenetics/UC 5200TPA | facilitate or enhance the removal of foreign contaminants from surfaces submerged in an ultrasonically activated liquid. | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
111 | True RMS Multimeter | Fluke /87V | measure the "heating" potential of an applied voltage. | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
112 | Multi parameter Portable meter/ Water Quality Analyzer | Eutech/PCD650 | quality testing of water | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform
113 | FPLC in cold cabinet | Bio-Rad | protein purification | CRTDH- CSIR-CCMB | https://docs.google.com/forms/d/e/1FAIpQLSfPEaJTVvpKpcOR_72y7-wLtMy5BbGU4qPm4dbAmULb4pStxA/viewform

## Sheet2
Ser. No | Instruments | Instrument No. | Brand/Model | Function | CRTDH
| Real Time Simulator HIL | NITANP/CRTDH-RE/EQP/001 | Brand: OPAL RT Model: OP4512 | Real time Simulation System
| Solar Emulator System with Software | NITANP/CRTDH-RE/EQP/002 | Brand: ENTUPLE Model:IT6424C | Solar emulator
| Microgrid Controller & Software | NITANP/CRTDH-RE/EQP/012 | Brand: ENTPULE Model:WAVECT-300/WAVECT HD WCU 300 | Microgrid controller
| Power Quality Analyzer | NITANP/CRTDH-RE/EQP/013 | Brand: YOKOGAWA Model:WT1804E | Power quality Analyzer
| Three Power Quality Analyzer with accessories | NITANP/CRTDH-RE/EQP/014 | Brand:FLUKE Model:NORMA6004+ | Power quality Analyzer
| Insulation Tester | NITANP/CRTDH-RE/EQP/015 | Brand: FLUKE Model:1500C/15KV | Insulation resistance
| 108W Programmable High precision DC power supply | NITANP/CRTDH-RE/EQP/035 | Brand: GW INSTEK Model:PPX-3603 | DC POWER SUPPLY
| 375W, 3- Channel liner DC power supply | NITANP/CRTDH-RE/EQP/036-037 | Brand: GW INSTEK Model:GPC-6030D | DC POWER SUPPLY
| 180W, 2- Channel programmable linear power supply | NITANP/CRTDH-RE/EQP/038-039 | Brand: GW INSTEK Model:GPO-2303S | DC POWER SUPPLY
| 1500W Programmable switching DC power supply | NITANP/CRTDH-RE/EQP/040 | Brand:GW INSTEK Model:PSU 300-5 | POWER SOURCE
| 1 KVA Programmable AC/DC power source | NITANP/CRTDH-RE/EQP/041-045 | Brand: GW INSTEK Model:ASR-2100 | POWER SOURCE
| 350V 18A 1875W AC/DC Electronic load | NITANP/CRTDH-RE/EQP/046-047 | Brand: GW INSTEK Model:AEL-5002-350-18.75 | LOAD
| PCB prototype machine | NITANP/CRTDH-RE/EQP/054 | Brand: ROBOKITS INDIA Model:RMCS-3502 | Design of pcb For circuit design